Wearable Visualizer POC - User Needs Analysis

Patient View (Wearer of Galaxy Watch/Apple Watch)

Primary Needs:

- Ease of Use - Minimal interaction required during monitoring

- Comfort & Wearability - Device must be comfortable for extended wear

- Battery Life - Sufficient power for continuous monitoring (minimum 24 hours)

- Privacy & Security - Assurance that health data is protected and only shared with authorized healthcare providers

- Clear Instructions - Simple setup process without technical expertise

- Reliability - Consistent data collection without gaps

- Feedback - Visual confirmation that monitoring is active and working

Specific Requirements from Patient Guide:

- Device Preparation: Charge watch to ≥50% battery before use

- Proper Wear: Snug but comfortable fit for accurate sensor readings

- Continuous Monitoring: Use "Workout Mode" trick (Walk/Run) to force continuous sensor sampling

- Screen Management: Keep screen active during monitoring period

- Optimal Positioning: Rest arm on table for 1 minute baseline reading

- Connectivity: Maintain connection to phone hotspot or WiFi

- Troubleshooting: Know how to restart workout mode if screen blacks out

- Privacy Assurance: Understanding that data streams securely to physician only

Secondary Patient Benefits:

- Peace of mind through continuous monitoring

- Early detection of potential health issues

- Reduced need for frequent clinic visits

- Empowerment through access to own health data

- Seamless integration into daily routine

Physician/Dashboard User Needs

Primary Needs:

- Real-time Data Access - Live vital signs with minimal latency

- Data Accuracy & Reliability - Confidence in sensor data quality

- Actionable Alerts - Timely notifications for abnormal readings

- Historical Trends - Ability to review data over time

- Multiple Patient Management - Efficient monitoring of several patients simultaneously

- Clinical Workflow Integration - Seamless fit into existing practice routines

- Billing & Documentation Support - Tools to support RPM CPT code billing

- Patient Communication - Facilitated remote check-ins and interventions

Specific Requirements from Physician Guide & RPM Documentation:

- Dashboard Access: Streamlit interface on port 8501 with auto-connect toggle

- Real-time Updates: Heart rate updates every 2 seconds

- Multi-sensor Monitoring: Heart rate, SpO2, steps, blood pressure, HRV, sleep data

- Alert System: Configurable thresholds for tachycardia, bradycardia, low SpO2

- Data Transmission: Continuous streaming via WebSocket server (port 8765)

- Backup Storage: Local and/or cloud storage for data retention

- Billing Documentation: Automated logs to support 99453, 99454, 99457/99458 claims

- Alert Response: Clear workflow for clinician notification and patient contact

- Audit Trail: Complete record of data access and clinical interactions

Secondary Physician Benefits:

- Early intervention opportunities through continuous monitoring

- Reduced hospital readmissions for cardiac patients

- More efficient use of clinical time (focus on actionable data)

- Enhanced patient engagement and adherence

- Revenue generation through RPM reimbursement

- Competitive differentiation in cardiac care market

- Scalable monitoring without proportional increase in staff burden

Shared System Requirements:

- Cross-platform Compatibility: Support for both Samsung Galaxy Watch and Apple Watch

- Secure Data Transmission: End-to-end encryption for health data

- Fallback Mechanisms: Local storage during connectivity interruptions

- Scalability: Architecture supporting growth from pilot to production

- Regulatory Compliance: HIPAA-compliant data handling

- User Training: Minimal learning curve for both patient and clinician

- Technical Support: Clear troubleshooting paths and support escalation

Value Propositions by User Type:

For Patients:

- Continuous health monitoring without clinic visits

- Early warning system for potential cardiac events

- Increased confidence in managing chronic conditions

- Reduced healthcare costs through prevention

- Improved quality of life through proactive care

For Physicians/Clinics:

- New revenue stream through RPM reimbursement (~$1,400/patient/year)

- Improved clinical outcomes through early intervention

- Differentiated service offering in competitive market

- Efficient monitoring of high-risk patient populations

- Data-driven clinical decision making

- Reduced burden on healthcare system through prevention

For Healthcare System:

- Lower overall costs through preventive care

- Reduced emergency department visits and hospitalizations

- Better management of chronic disease populations

- Improved access to specialized cardiac monitoring

- Enhanced population health management capabilities